Key Articles and Annexes to remember - MDR

Article 2 Definitions

CHAPTER II : MAKING AVAILABLE ON THE MARKET AND PUTTING INTO SERVICE OF DEVICES, OBLIGATIONS OF ECONOMIC OPERATORS, REPROCESSING, CE MARKING, FREE MOVEMENT	26

Article 8: Use of harmonised standards								28

Article 9: Common specifications								28

Article 10: General obligations of manufacturers							28

Article 15: Person responsible for regulatory compliance						34

Article 19: EU declaration of conformity								37

Article 20: CE marking of conformity								38

CHAPTER III: IDENTIFICATION AND TRACEABILITY OF DEVICES, REGISTRATION OF DEVICES AND OF ECONOMIC											40

Article 27: Unique Device Identification system							41

Article 28: UDI database									43

Article 29: Registration of devices								43

Article 30: Electronic system for registration of economic operators				43

Article 31: Registration of manufacturers, authorised representatives and importers		44

Article 32: Summary of safety and clinical performance						44

Article 33: European database on medical devices						45

Article 34: Functionality of Eudamed								47

CHAPTER V: CLASSIFICATION AND CONFORMITY ASSESSMENT					56

SECTION 1: Classification									56

Article 51: Classification of devices								56

SECTION 2: Conformity assessment								57

Article 52: Conformity assessment procedures							57

Article 53: Involvement of notified bodies in conformity assessment procedures			59

Article 54: Clinical evaluation consultation procedure for certain class III and class IIb devices	59

Article 56: Certificates of conformity								60

Article 57: Electronic system on notified bodies and on certificates of conformity			61

CHAPTER VI: CLINICAL EVALUATION AND CLINICAL INVESTIGATIONS				62

Article 61: Clinical evaluation	(Article 61 – 82)							62

Article 62: General requirements regarding clinical investigations conducted to demonstrate conformity of devices										64

Article 63: Informed consent									66

Article 64: Clinical investigations on incapacitated subjects					67

Article 65: Clinical investigations on minors							67

Article 66: Clinical investigations on pregnant or breastfeeding women				68

Article 67: Additional national measures								68

Article 68: Clinical investigations in emergency situations					68

Article 69: Damage compensation								69

Article 70: Application for clinical investigations							69

Article 71: Assessment by Member States							70

Article 72: Conduct of a clinical investigation							71

Article 73: Electronic system on clinical investigations						72

Article 74: Clinical investigations regarding devices bearing the CE marking			72

Article 75: Substantial modifications to clinical investigations					73

Article 76: Corrective measures to be taken by Member States and information exchange between Member States											73

Article 77: Information from the sponsor at the end of a clinical investigation or in the event of a temporary halt or early termination								74

Article 78: Coordinated assessment procedure for clinical investigations				74

Article 79: Review of coordinated assessment procedure						76

Article 80: Recording and reporting of adverse events that occur during clinical investigations	76

Article 81: Implementing acts									77

Article 82: Requirements regarding other clinical investigations					78

CHAPTER VII: POST-MARKET SURVEILLANCE, VIGILANCE AND MARKET SURVEILLANCE		78

SECTION 1: Post-market surveillance								78

Article 83: Post-market surveillance system of the manufacturer					78

Article 84: Post-market surveillance plan							79

Article 85: Post-market surveillance report							79

Article 86: Periodic safety update report								79

SECTION 2: Vigilance										79

Article 87: Reporting of serious incidents and field safety corrective actions			79

Article 88: Trend reporting									81

Article 89: Analysis of serious incidents and field safety corrective actions			81

Article 90: Analysis of vigilance data								83

Article 91: Implementing acts									83

Article 92: Electronic system on vigilance and on post-market surveillance			83

ANNEXES											100

ANNEX I: GENERAL SAFETY AND PERFORMANCE REQUIREMENTS				101

ANNEX II: TECHNICAL DOCUMENTATION							116

ANNEX III: TECHNICAL DOCUMENTATION ON POST-MARKET SURVEILLANCE			120

ANNEX IV: EU DECLARATION OF CONFORMITY							121

ANNEX V: CE MARKING OF CONFORMITY							122

ANNEX VI: INFORMATION TO BE SUBMITTED UPON THE REGISTRATION OF DEVICES AND ECONOMIC OPERATORS IN ACCORDANCE WITH ARTICLES 29(4) AND 31, CORE DATA ELEMENTS TO BE PROVIDED TO THE UDI DATABASE TOGETHER WITH THE UDI-DI IN ACCORDANCE WITH ARTICLES 28 AND 29, AND THE UDI SYSTEM										123

ANNEX VII: REQUIREMENTS TO BE MET BY NOTIFIED BODIES					131

ANNEX VIII: CLASSIFICATION RULES								149

ANNEX IX: CONFORMITY ASSESSMENT BASED ON A QUALITY MANAGEMENT SYSTEM AND ON ASSESSMENT OF TECHNICAL DOCUMENTATION							155

ANNEX X: CONFORMITY ASSESSMENT BASED ON TYPE-EXAMINATION				164

ANNEX XI: CONFORMITY ASSESSMENT BASED ON PRODUCT CONFORMITY VERIFICATION		167

PART A: PRODUCTION QUALITY ASSURANCE							167

PART B: PRODUCT VERIFICATION								169

ANNEX XIV: CLINICAL EVALUATION AND POST-MARKET CLINICAL FOLLOW-UP			175

ANNEX XV: CLINICAL INVESTIGATIONS								178

ANNEX XVI: LIST OF GROUPS OF PRODUCTS WITHOUT AN INTENDED MEDICAL PURPOSE REFERRED TO IN												184